## Sheet1
Hazard | Hazardous Situation | Initial Risk | Risk Control Measure | Residual Risk | Verification of Effectiveness
False negative (missed deterioration) | Patient symptoms worsen undetected | High | Baseline calibration, conservative thresholds | Low | Trial T1.5, T1.9 – sensitivity maintained
False positive (excessive alerts) | Unnecessary provider notification | Medium | Merged-noise guard, 5‑day de‑escalation clamp | Low | Trial T1.3, T1.6 – false‑alert rate 0.28%